CASAMBI® motion detectors consist of integrated CASAMBI® technology and make it possible to control luminaires without wiring work. Use the CASAMBI® app to configure parameters such as brightness and automatically switching on and off at dusk or movement. This can result in savings of up to 90%. The sensors are available in various designs for ceiling mounting or recessed installation and various detection zones from 5 to 28 m.

Electrical data:

Acceptance tests:

Physical data:

Height (H): 48 mm

Diameter ø: 25 mm

Manufacturer: RP-Technik GmbH