NEW! Expected to be available from 01.10.2024  
  
The CASA DAMA Mini Module is a specially designed module for flush mounting, which takes control of up to 15 wired DALI luminaires. This intelligent module allows the DALI luminaires to be wirelessly controlled using advanced Casambi technology. With an integrated DALI bus power supply of 30 mA, the module ensures efficient and reliable connection of the luminaires. Its form factor simplifies installation, while the compact design allows for unobtrusive integration into existing lighting systems. This combination of wireless control and DALI connection makes the CASA DAMA Mini an optimal solution for smart lighting requirements.

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

Acceptance tests:

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 50 mm

Width (B): 48 mm

Height (H): 21,6 mm

Manufacturer: RP-Technik GmbH