NEW! Expected to be available from 01.10.2024

The CASA ROLLO Mini Module is specially designed for flush mounting and offers convenient control of shutters, blinds, or awnings via the configurable button or the practical app. With the additional "Long Range" feature, you can now enjoy reliable control from greater distances.

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

Output max.: VA

Switching output: 345 VA

Acceptance tests:

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 50 mm

Width (B): 48 mm

Height (H): 30 mm

Manufacturer: RP-Technik GmbH