The CASAMBI® XPRESS-LR is not just a wireless light switch but also a remote control. The XPRESS-LR brings high flexibility to interior design, allowing furniture to be freely rearranged or walls to be rebuilt without the need to consider wiring for light switches or their placement.

The switch can be placed wherever the user needs it, providing direct access to all essential functions of the CASAMBI® light control. With the additional "Long Range" feature, you now benefit from an extended control range, offering even more convenience.

Electrical data:

Acceptance tests:

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 90 mm

Width (B): 90 mm

Height (H): 12 mm

Manufacturer: RP-Technik GmbH