Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

* Charge monitoring indicator on the luminaire
* Manual or automatic function test (free choice of test start time in the WirelessControl software)
* Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)
* Automatic charge monitoring
* Deep discharge protection with restart inhibit

Matériau: Zinc moulé sous pression

Couleur: RAL 9003

Dimensions: 315 mm x 65 mm x 140 mm

Type de montage: Wand

Classe de protection: 1

Indice de protection (IP): IP 65

Degré de résistance aux chocs IK: IK 8

Température permise en mode contenu: -25 °C à 40 °C °C

Température permise en mode veille: -25 °C à 40 °C °C

Pictogramme: Nein

Puissance en mode continu: 3,9 W W

Puissance en mode veille: 1,5 W W

Flux lumineux en mode de secours: 85 lm lm

Tension d'entrée AC: 230 V V

Section de raccordement: 2.5 mm² mm

Batterie: LFP3233.01-TT, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Batterie

Numéro d'article: ZAW418WL-TT

Accessoires:

Marque: RP-Technik GmbH